## Sheet1
RESULTS OF BACTERIOLOGICAL SAMPLES RECEIVED ON DATED-06.10.2022
Sr. No. | Collection Date | Lab. Code | Location of Samples Taken | ANALYSIS RESULTS |  | Final Reporting Date
|  |  |  | Total Coliform MPN/100 ml | E.Coli MPN/100 ml
1 | 2022-10-06 | 14650 | Ridge Tank Outlet | <1.1 | Not Required | 2022-10-09
2 |  | 14651 | P.tap near Shiv Mandir middle bazar | <1.1 | Not Required | 2022-10-09
3 |  | 14652 | P.Tap Near Sadar Thana Sabzi Mandi | <1.1 | Not Required | 2022-10-09
4 |  | 14653 | P.Tap Pursarthi basti | <1.1 | Not Required | 2022-10-09
5 |  | 14654 | P.Tap Chadda Transport | <1.1 | Not Required | 2022-10-09
6 |  | 14655 | P.Tap Preet Hotel Bus stand | <1.1 | Not Required | 2022-10-09
7 |  | 14656 | Chakkar tank | <1.1 | Not Required | 2022-10-09
8 |  | 14657 | Summer Hill Tank | <1.1 | Not Required | 2022-10-09
9 |  | 14658 | P.tap near Lower Summer Hill | <1.1 | Not Required | 2022-10-09
10 |  | 14659 | P.Tap Near William Estate | <1.1 | Not Required | 2022-10-09
11 |  | 14660 | P.Tap Dhobighat Anadale | <1.1 | Not Required | 2022-10-09
12 |  | 14661 | Bharari Tank | <1.1 | Not Required | 2022-10-09
13 |  | 14662 | P.Tap Police Line Bharari | <1.1 | Not Required | 2022-10-09
14 |  | 14663 | Kleston tank | <1.1 | Not Required | 2022-10-09
15 |  | 14664 | Sanjauli Reservoir | <1.1 | Not Required | 2022-10-09
16 |  | 14665 | Giri inlet | <1.1 | Not Required | 2022-10-09
17 |  | 14666 | Gumma inlet | 2.2 | <1.1 | 2022-10-09
18 |  | 14667 | Dhalli Tank | 2.2 | <1.1 | 2022-10-09
19 |  | 14668 | Mainsfield Tank | 5.1 | <1.1 | 2022-10-09
20 |  | 14669 | Kasumpati Reservoir | 9.2 | <1.1 | 2022-10-09

## Sheet2
RESULTS OF BACTERIOLOGICAL SAMPLES RECEIVED IN THE MONTH OF NOVEMBER-2020
DATED | Lab. Code | Location of Sample taken | ANALYSIS RESULTS |  | Final Reporting Date
|  |  | Total Coliform MPN/100 ml | E.Coli MPN/100 ml
01.11.2020 | 761 | Kasumpti Reservior | <1.1 | Not Required | 04.11.2020
| 762 | Phase -III Tank-I | <1.1 | Not Required | 04.11.2020
| 763 | Phase -III Tank-3 | <1.1 | Not Required | 04.11.2020
| 764 | Tara mata Mandir tank | <1.1 | Not Required | 04.11.2020
| 765 | Sec-I Tank New shimla | <1.1 | Not Required | 04.11.2020
| 766 | P Tap near MC Office New shimla | <1.1 | Not Required | 04.11.2020
| 767 | Sec-4 Tank New shimla | <1.1 | Not Required | 04.11.2020
| 768 | Sec-2 Tank New shimla | <1.1 | Not Required | 04.11.2020
| 769 | Knollswood Tank | <1.1 | Not Required | 04.11.2020
| 770 | Mainsfield Tank | <1.1 | Not Required | 04.11.2020
| 771 | Advance Study tank | <1.1 | Not Required | 04.11.2020
| 772 | P. Tap near Bhagwati Niwas Lakkar Bazar | <1.1 | Not Required | 04.11.2020
| 773 | P.Tap Near Councellor House Ruldu Bhatta | <1.1 | Not Required | 04.11.2020
| 774 | P Tap Near Shiv Cottage Rildu Bhatta | <1.1 | Not Required | 04.11.2020
| 775 | P.Tap Near Shyam Singh Building | <1.1 | Not Required | 04.11.2020
| 776 | Sanjauli Reservoir | <1.1 | Not Required | 04.11.2020
| 777 | Giri Inlet | 1.1 | <1.1 | 04.11.2020
| 778 | Gumma Inlet | <1.1 | Not Required | 04.11.2020
| 779 | Dhalli Tank Outlet | <1.1 | Not Required | 04.11.2020
| 780 | Kalyani Tank Charabra | 1.1 | <1.1 | 04.11.2020
02.11.2020 | 781 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-05
| 782 | Phase III Tank No.1 | <1.1 | Not Required | 2020-11-05
| 783 | Knollswood Tank | <1.1 | Not Required | 2020-11-05
| 784 | Mainsfield Tank | <1.1 | Not Required | 2020-11-05
| 785 | P.Tap Near Five Bench Jakhu | 5.1 | <1.1 | 2020-11-05
| 786 | P.Tap Near Dhaulpur House Jakhu | 16 | <1.1 | 2020-11-05
| 787 | Jakhu Tank Near Hanuman Temple | 2.2 | <1.1 | 2020-11-05
| 788 | Supply Near Hollylodge | <1.1 | Not Required | 2020-11-05
| 789 | Phagli Tank | <1.1 | Not Required | 2020-11-05
| 790 | P. Tap Near GSSS Phagli | <1.1 | Not Required | 2020-11-05
| 791 | 103 Tank | <1.1 | Not Required | 2020-11-05
| 792 | P. Tap Near Hari Mandir Chakkar | <1.1 | Not Required | 2020-11-05
| 793 | Chakkar Tank | <1.1 | Not Required | 2020-11-05
| 794 | Bhimakali Tank | <1.1 | Not Required | 2020-11-05
| 795 | Summerhill Bazar Tank | <1.1 | Not Required | 2020-11-05
| 796 | Kleston Tank | <1.1 | Not Required | 2020-11-05
| 797 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-05
| 798 | Giri Inlet | <1.1 | Not Required | 2020-11-05
| 799 | Gumma Inlet | <1.1 | Not Required | 2020-11-05
| 800 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-05
03.11.2020 | 801 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-06
| 802 | Tara mata Mandir tank | <1.1 | Not Required | 2020-11-06
| 803 | Knollswood Tank | <1.1 | Not Required | 2020-11-06
| 804 | Mainsfield Tank | <1.1 | Not Required | 2020-11-06
| 805 | P.Tap Near Shanikunj Dhobhighat | <1.1 | Not Required | 2020-11-06
| 806 | P.Tap Near Dhobhighat Annadale | <1.1 | Not Required | 2020-11-06
| 807 | P.Tap Near Grace Villa Anndale | <1.1 | Not Required | 2020-11-06
| 808 | P.Tap Near Luxmi Niwas Annadale | <1.1 | Not Required | 2020-11-06
| 809 | P.Tap Near Bhihari Lal Cottage Annadale | <1.1 | Not Required | 2020-11-06
| 810 | P.Tap Near Kala Sadan Annadale | <1.1 | Not Required | 2020-11-06
| 811 | P.Tap Near Chamba Cottage Thakurbag | <1.1 | Not Required | 2020-11-06
| 812 | Supply Near Silverton Thakurbag | <1.1 | Not Required | 2020-11-06
| 813 | P.Tap Near Krishna Hill | <1.1 | Not Required | 2020-11-06
| 814 | P.Tap Near Valencia Estate Thakurbag | <1.1 | Not Required | 2020-11-06
| 815 | Tutikandi Tank | <1.1 | Not Required | 2020-11-06
| 816 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-06
| 817 | Giri Inlet | <1.1 | Not Required | 2020-11-06
| 818 | Gumma Inlet | <1.1 | Not Required | 2020-11-06
| 819 | P.Tap Near Dhalli Chowk | <1.1 | Not Required | 2020-11-06
| 820 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-06
04.11.2020 | 821 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-07
| 822 | Phase-III tank No-I | <1.1 | Not Required | 2020-11-07
| 823 | Supply Near Sood Bhawan Bhagwatinagar | <1.1 | Not Required | 2020-11-07
| 824 | P.Tap Near By Pass Road Khalini | <1.1 | Not Required | 2020-11-07
| 825 | P Tap Near Khalini Chawk | <1.1 | Not Required | 2020-11-07
| 826 | Knollswood Tank | <1.1 | Not Required | 2020-11-07
| 827 | P.Tap Near Brochhurst Chotta Shimla | <1.1 | Not Required | 2020-11-07
| 828 | P Tap Nearb Servant Quarter Knollswood | <1.1 | Not Required | 2020-11-07
| 829 | P.Tap Near Police Gumti Chotta Shimla | <1.1 | Not Required | 2020-11-07
| 830 | Mainsfield Tank | >23 | <1.1 | 2020-11-07
| 831 | 103 Tank | <1.1 | Not Required | 2020-11-07
| 832 | P Tap Near Totu Chawk | <1.1 | Not Required | 2020-11-07
| 833 | Bhimakali Tank | <1.1 | Not Required | 2020-11-07
| 834 | Kleston Tank | <1.1 | Not Required | 2020-11-07
| 835 | Bharari Tank | 2.2 | <1.1 | 2020-11-07
| 836 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-07
| 837 | Giri Inlet | <1.1 | Not Required | 2020-11-07
| 838 | Gumma Inlet | <1.1 | Not Required | 2020-11-07
| 839 | P. Tap Near M.C Office Sanjauli | <1.1 | Not Required | 2020-11-07
| 840 | Dhali Tank outlet | <1.1 | Not Required | 2020-11-07
05.11.2020 | 841 | Kasumpti Reservior. | <1.1 | Not Required | 2020-11-08
| 842 | Knollswood Tank. | <1.1 | Not Required | 2020-11-08
| 843 | Mainsfield Tank. | <1.1 | Not Required | 2020-11-08
| 844 | Jakhu Tank Near Hanuman Temple. | <1.1 | Not Required | 2020-11-08
| 845 | P.Tap Near Eva Sales Corporation Ganj Bazar. | 16 | <1.1 | 2020-11-08
| 846 | P.Tap Near Prusharthi Basti. | <1.1 | Not Required | 2020-11-08
| 847 | P.Tap Near Sabji Mandi Lower Bazar | <1.1 | Not Required | 2020-11-08
| 848 | P. Tap Near Suji Line. | <1.1 | Not Required | 2020-11-08
| 849 | P.Tap Near Indira Chowk. | <1.1 | Not Required | 2020-11-08
| 850 | P.Tap Near Khadi Bhandar The Mall Shimla. | <1.1 | Not Required | 2020-11-08
| 851 | P. Tap Near Samsung Shop The Mall Shimla. | <1.1 | Not Required | 2020-11-08
| 852 | P.Tap Near H.P.M.C Ridge | <1.1 | Not Required | 2020-11-08
| 853 | Phagli Tank. | <1.1 | Not Required | 2020-11-08
| 854 | P.Tap Near Tibetean Colony Nabha. | <1.1 | Not Required | 2020-11-08
| 855 | Kleston Tank. | 23 | <1.1 | 2020-11-08
| 856 | P. Tap Near old Police Thana Sanjauli. | <1.1 | Not Required | 2020-11-08
| 857 | Dhalli Tank Outlet. | <1.1 | Not Required | 2020-11-08
| 858 | Sanjauli Reservoir. | <1.1 | Not Required | 2020-11-08
| 859 | Giri Inlet. | <1.1 | Not Required | 2020-11-08
| 860 | Gumma Inlet. | <1.1 | Not Required | 2020-11-08
06.11.2020 | 861 | Kasumpti Reservoir | <1.1 | Not Required | 2020-11-09
| 862 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-11-09
| 863 | Phase III Tank No.1 | <1.1 | Not Required | 2020-11-09
| 864 | Knollswood Tank | <1.1 | Not Required | 2020-11-09
| 865 | Mainsfield Tank | <1.1 | Not Required | 2020-11-09
| 866 | Advance Study tank | <1.1 | Not Required | 2020-11-09
| 867 | P.Tap Near Summerhill Chowk | <1.1 | Not Required | 2020-11-09
| 868 | P.Tap Near Raj Diary Summerhill | <1.1 | Not Required | 2020-11-09
| 869 | Summerhill Bazar Tank | <1.1 | Not Required | 2020-11-09
| 870 | P.Tap Near Lower Summerhill | <1.1 | Not Required | 2020-11-09
| 871 | P.Tap Near 18 Family Boileaganj | <1.1 | Not Required | 2020-11-09
| 872 | Kamna Devi Temple Tank | <1.1 | Not Required | 2020-11-09
| 873 | P.Tap Near Hari Mandir Chakkar | <1.1 | Not Required | 2020-11-09
| 874 | P.Tap Near Hari Palace, Ghora chowki | 5.1 | <1.1 | 2020-11-09
| 875 | Tutikandi Tank | <1.1 | Not Required | 2020-11-09
| 876 | Bharari Tank | 2.2 | <1.1 | 2020-11-09
| 877 | Sanjauli Reservoir | 2.2 | <1.1 | 2020-11-09
| 878 | Giri Inlet | <1.1 | Not Required | 2020-11-09
| 879 | Gumma Inlet | <1.1 | Not Required | 2020-11-09
| 880 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-09
07.11.2020 | 881 | Kasumpti reservior | <1.1 | Not Required | 2020-11-10
| 882 | Shakrala Tank | <1.1 | Not Required | 2020-11-10
| 883 | Knollswood Tank | <1.1 | Not Required | 2020-11-10
| 884 | Mainsfield tank | <1.1 | Not Required | 2020-11-10
| 885 | P. Tap Near Five Bench Jakhu | 23 | <1.1 | 2020-11-10
| 886 | P.Tap Near Dhalpur House Jakhu | 5.1 | <1.1 | 2020-11-10
| 887 | Jakhu Tank Near Hanuman Temple | 2.2 | <1.1 | 2020-11-10
| 888 | Supply Near Holly Lodge | 9.2 | <1.1 | 2020-11-10
| 889 | Phagali Tank | <1.1 | Not Required | 2020-11-10
| 890 | P.Tap Near Police Colony Bharari | <1.1 | Not Required | 2020-11-10
| 891 | P.Tap Near Bhalla Niwas | <1.1 | Not Required | 2020-11-10
| 892 | P.Tap Near Bharari Ground Police | <1.1 | Not Required | 2020-11-10
| 893 | Bharari Tank | <1.1 | Not Required | 2020-11-10
| 894 | Kleston Tank | >23 | <1.1 | 2020-11-10
| 895 | Sanjauli Reservior | <1.1 | Not Required | 2020-11-10
| 896 | Giri Inlet | <1.1 | Not Required | 2020-11-10
| 897 | Gumma Inlet | <1.1 | Not Required | 2020-11-10
| 898 | Dhali Tank outlet | <1.1 | Not Required | 2020-11-10
| 899 | P.Tap Near Dhali Chawk | <1.1 | Not Required | 2020-11-10
| 900 | Tara mata Mandir tank | <1.1 | Not Required | 2020-11-10
08.11.2020+A144:F185C149A144:A144:F183 | 901 | Kasumpti reservior | <1.1 | Not Required | 2020-11-11
| 902 | Knollswood Tank | <1.1 | Not Required | 2020-11-11
| 903 | Mainsfield tank | <1.1 | Not Required | 2020-11-11
| 904 | Tuttikandi tank | <1.1 | Not Required | 2020-11-11
| 905 | 103 Tank | <1.1 | Not Required | 2020-11-11
| 906 | P.tap near goel appartment Dhingu | <1.1 | Not Required | 2020-11-11
| 907 | Dhingu Mandir Tank | <1.1 | Not Required | 2020-11-11
| 908 | P. tap near Laxmi Narayan Temple Sanjauli | <1.1 | Not Required | 2020-11-11
| 909 | P Tap near old Police Thana Sanjauli | <1.1 | Not Required | 2020-11-11
| 910 | Engine Ghar Tank | <1.1 | Not Required | 2020-11-11
| 911 | P tap near Mehta parking Sanjauli | <1.1 | Not Required | 2020-11-11
| 912 | P. tap near Bangla Colony | 3.6 | <1.1 | 2020-11-11
| 913 | Bangla Colony tank | 6.9 | <1.1 | 2020-11-11
| 914 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-11
| 915 | Giri Inlet | <1.1 | Not Required | 2020-11-11
| 916 | Gumma Inlet | <1.1 | Not Required | 2020-11-11
| 917 | P. Tap near MC Office Sanjauli | <1.1 | Not Required | 2020-11-11
| 918 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-11
| 919 | Kalyani Tank Charabra | <1.1 | Not Required | 2020-11-11
| 920 | Phase-III Tank-I | <1.1 | Not Required | 2020-11-11
09.11.2020 | 921 | Kasumpati Reservoir | <1.1 | Not Required | 2020-11-12
| 922 | P. Tap near MC Office New Shimla | <1.1 | Not Required | 2020-11-12
| 923 | Sec.3 Old Tank New Shimla | <1.1 | Not Required | 2020-11-12
| 924 | P. tap near Kranti Chowk | <1.1 | Not Required | 2020-11-12
| 925 | Sector- 3 New tank | 5.1 | <1.1 | 2020-11-12
| 926 | P. tap near Mangla Bhawan | 12 | <1.1 | 2020-11-12
| 927 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-11-12
| 928 | Knollswood Tank | <1.1 | Not Required | 2020-11-12
| 929 | Mainsfield Tank | <1.1 | Not Required | 2020-11-12
| 930 | P. Tap near G.S.S.S PhaGLI | 16 | <1.1 | 2020-11-12
| 931 | Phagli Tank | 16 | <1.1 | 2020-11-12
| 932 | P. Tap Near Hari Mandir Chakkar | <1.1 | Not Required | 2020-11-12
| 933 | Chakkar Tank | <1.1 | Not Required | 2020-11-12
| 934 | P. Tap Near Hari Palace Ghorachowki | <1.1 | Not Required | 2020-11-12
| 935 | Bharari Tank | <1.1 | Not Required | 2020-11-12
| 936 | Kleston Tank | <1.1 | Not Required | 2020-11-12
| 937 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-12
| 938 | Giri Inlet | <1.1 | Not Required | 2020-11-12
| 939 | Gumma Inlet | <1.1 | Not Required | 2020-11-12
| 940 | Dhall Tank Outlet | <1.1 | Not Required | 2020-11-12
10.11.2020 | 941 | Kasumpati Reservoir | <1.1 | Not Required | 2020-11-13
| 942 | SDA tank Kasumpati | <1.1 | Not Required | 2020-11-13
| 943 | P Tap Near A-Block Vikasnagar | <1.1 | Not Required | 2020-11-13
| 944 | Phase-III tank No.1 | <1.1 | Not Required | 2020-11-13
| 945 | P tap Near Panchayata | <1.1 | <1.1 | 2020-11-13
| 946 | Supply Near Sood Bhawan Bhagwatinagar | <1.1 | <1.1 | 2020-11-13
| 947 | P tap near bye pass road Khalini | <1.1 | Not Required | 2020-11-13
| 948 | P tap near khalini chowk | 9.2 | <1.1 | 2020-11-13
| 949 | Knowllswood tank | <1.1 | Not Required | 2020-11-13
| 950 | P tap near Servant Quarter Knowllswood | <1.1 | <1.1 | 2020-11-13
| 951 | P tap near Brockhurst | <1.1 | <1.1 | 2020-11-13
| 952 | P tap near Apna Medical Store Chotta Shimla | <1.1 | Not Required | 2020-11-13
| 953 | P tap near Polic Gumti Chotta Shimla | <1.1 | Not Required | 2020-11-13
| 954 | Mainsfield tank | <1.1 | Not Required | 2020-11-13
| 955 | Jakhu tank Near Hanuman Mandir | <1.1 | Not Required | 2020-11-13
| 956 | Kleston tank | <1.1 | Not Required | 2020-11-13
| 957 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-13
| 958 | Giri Inlet | <1.1 | Not Required | 2020-11-13
| 959 | Gumma Inlet | 5.1 | <1.1 | 2020-11-13
| 960 | Dhalli tank Outlet | 5.1 | <1.1 | 2020-11-13
13.11.2020 | 961 | Kasumpati Reservoir | 5.1 | <1.1 | 2020-11-16
| 962 | Knollswood tank | <1.1 | Not Required | 2020-11-16
| 963 | Mainsfield Tank | <1.1 | Not Required | 2020-11-16
| 964 | Jakhu Tank | <1.1 | Not Required | 2020-11-16
| 965 | EVA Sales Corporation Gamj Bazzar | <1.1 | Not Required | 2020-11-16
| 966 | P tap near Subji Mandi Lower Bazzar | <1.1 | Not Required | 2020-11-16
| 967 | P tap near Indira Chowk | <1.1 | Not Required | 2020-11-16
| 968 | P tap near Khadi Bhandar Mall Road | <1.1 | Not Required | 2020-11-16
| 969 | P tap near Samsung Shop Mall Road | <1.1 | Not Required | 2020-11-16
| 970 | P tap near HPMC Ridge | <1.1 | Not Required | 2020-11-16
| 971 | Tuttikandi tank | <1.1 | Not Required | 2020-11-16
| 972 | Phagli Tank | <1.1 | Not Required | 2020-11-16
| 973 | P tap Near GSSS Phagli | <1.1 | Not Required | 2020-11-16
| 974 | Phase -III tank No.1 | <1.1 | Not Required | 2020-11-16
| 975 | P tap near Mangla bhawan | <1.1 | Not Required | 2020-11-16
| 976 | Sector -3 New tank | <1.1 | Not Required | 2020-11-16
| 977 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-16
| 978 | Giri Inlet | <1.1 | Not Required | 2020-11-16
| 979 | Gumma Inlet | <1.1 | Not Required | 2020-11-16
| 980 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-16
14.11.2020 | 981 | Bhimakali Tank |  |  | 2020-11-17
| 982 | Chakkar tank |  |  | 2020-11-17
| 983 | 103 Tank |  |  | 2020-11-17
| 984 | P tap near Bharari temple |  |  | 2020-11-17
| 985 | P tap near Bhalla Niwas Bharari |  |  | 2020-11-17
| 986 | P tap near Police Colony Bharari |  |  | 2020-11-17
| 987 | P tap near Police Ground Bharari |  |  | 2020-11-17
| 988 | Bharari Tank |  |  | 2020-11-17
| 989 | Kleston Tank |  |  | 2020-11-17
| 990 | P tap near Bhagwati Niwas Lakkar Bazzar |  |  | 2020-11-17
| 991 | Dhalli Tank Outlet |  |  | 2020-11-17
| 992 | Sanjauli Reservoir |  |  | 2020-11-17
| 993 | Giri Inlet |  |  | 2020-11-17
| 994 | Gumma Inlet |  |  | 2020-11-17
| 995 | P. Tap near MC Office Sanjauli |  |  | 2020-11-17
| 996 | Jakkhu Temple near Hanuman Temple |  |  | 2020-11-17
| 997 | Miansfield Temple |  |  | 2020-11-17
| 998 | Knollswood Tank |  |  | 2020-11-17
| 999 | Kasumpati Reservoir |  |  | 2020-11-17
| 1000 | Tara Mata Mandir Tank |  |  | 2020-11-17
20.11.2020 | 1101 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-23
| 1102 | P.Tap Near Shanti kunj Annadale | <1.1 | Not Required | 2020-11-23
| 1103 | P.Tap Near Dhobi Ghat Annadale | <1.1 | Not Required | 2020-11-23
| 1104 | P.Tap Near Grace Villa Annadale | <1.1 | Not Required | 2020-11-23
| 1105 | P.Tap Near Laxmi Niwas Annadale | <1.1 | Not Required | 2020-11-23
| 1106 | P Tap Near Bihari Lal Cottage Annadale | <1.1 | Not Required | 2020-11-23
| 1107 | P.Tap Near Kala Sadan Annadale | <1.1 | Not Required | 2020-11-23
| 1108 | Supply Near Chamba House Thakur Bag | <1.1 | Not Required | 2020-11-23
| 1109 | Supply Near Sylverton Thakur Bag | <1.1 | Not Required | 2020-11-23
| 1110 | P.Tap Near Krishna Hill | <1.1 | Not Required | 2020-11-23
| 1111 | Tara Hall Tank | <1.1 | Not Required | 2020-11-23
| 1112 | Kleston Tank | <1.1 | Not Required | 2020-11-23
| 1113 | Bharari Tank | <1.1 | Not Required | 2020-11-23
| 1114 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-23
| 1115 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-23
| 1116 | Giri Inlet | <1.1 | Not Required | 2020-11-23
| 1117 | Gumma Inlet | <1.1 | Not Required | 2020-11-23
| 1118 | Mainsfield Tank | <1.1 | Not Required | 2020-11-23
| 1119 | Knollswood Tank | <1.1 | Not Required | 2020-11-23
| 1120 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-11-23
21.11.2020 | 1121 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-24
| 1122 | Phase -III tank No.1 | <1.1 | Not Required | 2020-11-24
| 1123 | Phagli Tank. | 16 | 1.1 | 2020-11-24
| 1124 | 103 Tank | 23 | 3.6 | 2020-11-24
| 1125 | P. Tap near Lower SummerHill | 12 | 1.1 | 2020-11-24
| 1126 | P. Tap near Raj Dairy | 16 | 2.2 | 2020-11-24
| 1127 | SummerHill Bazar Tank | 23 | 2.2 | 2020-11-24
| 1128 | P. Tap near SummerHill Chowk | 12 | 1.1 | 2020-11-24
| 1129 | Advance study Tank | <1.1 | Not Required | 2020-11-24
| 1130 | P.Tap Near 18 Family Boileaganj | <1.1 | Not Required | 2020-11-24
| 1131 | Kamna Devi Tank | <1.1 | Not Required | 2020-11-24
| 1132 | Chakkar tank | <1.1 | Not Required | 2020-11-24
| 1133 | P. Tap near Hari Mandir, Chakkar | <1.1 | Not Required | 2020-11-24
| 1134 | Bharari Tank | <1.1 | Not Required | 2020-11-24
| 1135 | Sanjauli Reservoir | <1.1 | Not Required | 2020-11-24
| 1136 | Giri Inlet | <1.1 | Not Required | 2020-11-24
| 1137 | Gumma Inlet | <1.1 | Not Required | 2020-11-24
| 1138 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-24
| 1139 | Mainsfield Tank | <1.1 | Not Required | 2020-11-24
| 1140 | Knollswood Tank | <1.1 | Not Required | 2020-11-24
22.11.2020 | 1141 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-25
| 1142 | Phase -III tank No.1 | <1.1 | Not Required | 2020-11-25
| 1143 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-11-25
| 1144 | 103 Tank | <1.1 | Not Required | 2020-11-25
| 1145 | Tuttikandi tank | <1.1 | Not Required | 2020-11-25
| 1146 | P. Tap near Bharari Temple | <1.1 | Not Required | 2020-11-25
| 1147 | Supply near Bhalla Niwas | <1.1 | Not Required | 2020-11-25
| 1148 | P. Tap near Police Colony | <1.1 | Not Required | 2020-11-25
| 1149 | P. Tap near Police ground Bharari | <1.1 | Not Required | 2020-11-25
| 1150 | Bharari Tank | <1.1 | Not Required | 2020-11-25
| 1151 | Kleston Tank | <1.1 | Not Required | 2020-11-25
| 1152 | Sanjauli Reservior | <1.1 | Not Required | 2020-11-25
| 1153 | Gumma Inlet | 1.1 | <1.1 | 2020-11-25
| 1154 | Giri Inlet | 2.2 | <1.1 | 2020-11-25
| 1155 | P. Tap near Dhalli Chowk | 1.1 | <1.1 | 2020-11-25
| 1156 | Dhalli tank Outlet | <1.1 | Not Required | 2020-11-25
| 1157 | Kalyani Tank Charabra | <1.1 | Not Required | 2020-11-25
| 1158 | Jakhu Tank near Hanuman Temple | <1.1 | Not Required | 2020-11-25
| 1159 | Mainsfield Tank | <1.1 | Not Required | 2020-11-25
| 1160 | Knallswood Tank | <1.1 | Not Required | 2020-11-25
23.11.2020 | 1161 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-26
| 1162 | Phase -III Tank | <1.1 | Not Required | 2020-11-26
| 1163 | BhimaKali Tank | <1.1 | Not Required | 2020-11-26
| 1164 | Phagli Tank | <1.1 | Not Required | 2020-11-26
| 1165 | P. Tap near Goel Appartment, Dhingu | <1.1 | Not Required | 2020-11-26
| 1166 | Dhingu Mandir Tank | 12 | <1.1 | 2020-11-26
| 1167 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-11-26
| 1168 | P. tap near Laxmi Narayan Temple Sanjauli | <1.1 | Not Required | 2020-11-26
| 1169 | P. Tap Near old Police Thana Sanjauli. | <1.1 | Not Required | 2020-11-26
| 1170 | Engine Ghar Tank | <1.1 | Not Required | 2020-11-26
| 1171 | P. Tap near Mehta Parking | <1.1 | Not Required | 2020-11-26
| 1172 | Bangala Colony Tank | <1.1 | Not Required | 2020-11-26
| 1173 | P. Tap near Bangala Tank | <1.1 | Not Required | 2020-11-26
| 1174 | North Oak UG Tank | <1.1 | Not Required | 2020-11-26
| 1175 | North Oak OH Tank | 16 | <1.1 | 2020-11-26
| 1176 | P. Tap near MC Office, Shimla | <1.1 | Not Required | 2020-11-26
| 1177 | Sanjauli Reservior | <1.1 | Not Required | 2020-11-26
| 1178 | Giri Inlet | <1.1 | Not Required | 2020-11-26
| 1179 | Gumma Inlet | <1.1 | Not Required | 2020-11-26
| 1180 | Mainsfield Tank | <1.1 | Not Required | 2020-11-26
24.11.2020 | 1181 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-27
| 1182 | P. Tsp near A1 Block, Vikas Nagar | <1.1 | Not Required | 2020-11-27
| 1183 | P. Tap near MC Office, New Shimla | <1.1 | Not Required | 2020-11-27
| 1184 | Sec.3 Old Tank New Shimla | <1.1 | Not Required | 2020-11-27
| 1185 | P. tap near Kranti Chowk | <1.1 | Not Required | 2020-11-27
| 1186 | Sec.3 New Tank New Shimla | <1.1 | Not Required | 2020-11-27
| 1187 | P. tap near Mangla Bhawan | <1.1 | Not Required | 2020-11-27
| 1188 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-11-27
| 1189 | Phase-III, Tank | <1.1 | Not Required | 2020-11-27
| 1190 | 103 Tank | 2.2 | <1.1 | 2020-11-27
| 1191 | Advance study Tank | <1.1 | Not Required | 2020-11-27
| 1192 | P. Tap near Bhagwati Niwas Lakkar Bazar | <1.1 | Not Required | 2020-11-27
| 1193 | Sanjauli Reservior | <1.1 | Not Required | 2020-11-27
| 1194 | Giri Inlet | <1.1 | Not Required | 2020-11-27
| 1195 | Gumma Inlet | <1.1 | Not Required | 2020-11-27
| 1196 | P. Tap near Dhalli Chowk | 1.1 | <1.1 | 2020-11-27
| 1197 | Dhalli tank Outlet | <1.1 | Not Required | 2020-11-27
| 1198 | Jakhu Tank near Hanuman Temple | <1.1 | Not Required | 2020-11-27
| 1199 | Mainsfield Tank | <1.1 | Not Required | 2020-11-27
| 1200 | Knallswood Tank | <1.1 | Not Required | 2020-11-27
25.11.2020 | 1201 | Kasumpti Reservior | >23 | <1.1 | 2020-11-28
| 1202 | Phase-III, Tank | 16 | <1.1 | 2020-11-28
| 1203 | P tap near Apna Medical Store Chotta Shimla | 16 | <1.1 | 2020-11-28
| 1204 | P.Tap Near Police Gumti Chotta Shimla | >23 | <1.1 | 2020-11-28
| 1205 | P Tap Near Servant Quarter Knollswood | <1.1 | Not Required | 2020-11-28
| 1206 | P.Tap Near Brochhurst Chotta Shimla | <1.1 | Not Required | 2020-11-28
| 1207 | Knollswood tank | 1.1 | <1.1 | 2020-11-28
| 1208 | Mainsfield Tank | <1.1 | Not Required | 2020-11-28
| 1209 | Jakhu tank near hanuman temple | <1.1 | Not Required | 2020-11-28
| 1210 | Phagli tank | <1.1 | Not Required | 2020-11-28
| 1211 | 103 tank | 1.1 | <1.1 | 2020-11-28
| 1212 | P. tap near lower summerhill | 9.2 | <1.1 | 2020-11-28
| 1213 | P. tap near Raj diary summerhill | <1.1 | Not Required | 2020-11-28
| 1214 | SummerHill Bazar Tank | <1.1 | Not Required | 2020-11-28
| 1215 | P. tap near summerHill Chowk | >23 | <1.1 | 2020-11-28
| 1216 | Bharari tank | <1.1 | Not Required | 2020-11-28
| 1217 | Sanjauli reservoir | <1.1 | Not Required | 2020-11-28
| 1218 | Giri inlet | <1.1 | Not Required | 2020-11-28
| 1219 | Gumma inlet | <1.1 | Not Required | 2020-11-28
| 1220 | Dhalli tank outlet | <1.1 | Not Required | 2020-11-28
26.11.2020 | 1221 | Kasumpti Reservior | <1.1 | Not Required | 2020-11-29
| 1222 | SDA tank Kasumpati | <1.1 | Not Required | 2020-11-29
| 1223 | P. Tap near A-1 Block, Vikas Nagar | <1.1 | Not Required | 2020-11-29
| 1224 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-11-29
| 1225 | Supply Near Sood Bhawan | <1.1 | Not Required | 2020-11-29
| 1226 | P. Tap near Kali Mata Mandir, Bhagwati Nagar | <1.1 | Not Required | 2020-11-29
| 1227 | P. Tap near By-Pass road, Khalini | <1.1 | Not Required | 2020-11-29
| 1228 | P. Tap near Khalini Chowk | <1.1 | Not Required | 2020-11-29
| 1229 | Knollswood tank | <1.1 | Not Required | 2020-11-29
| 1230 | Mainsfield Tank | <1.1 | Not Required | 2020-11-29
| 1231 | Jakhu tank near hanuman temple | <1.1 | Not Required | 2020-11-29
| 1232 | Tuttikandi tank | <1.1 | Not Required | 2020-11-29
| 1233 | P Tap near Hari Mandir, Chakkar | <1.1 | Not Required | 2020-11-29
| 1234 | Chakkar tank | <1.1 | Not Required | 2020-11-29
| 1235 | Bharari Tank | <1.1 | Not Required | 2020-11-29
| 1236 | Kleston Tank | <1.1 | Not Required | 2020-11-29
| 1237 | Sanjauli reservoir | <1.1 | Not Required | 2020-11-29
| 1238 | Giri inlet | <1.1 | Not Required | 2020-11-29
| 1239 | Gumma inlet | <1.1 | Not Required | 2020-11-29
| 1240 | Dhalli tank outlet | <1.1 | Not Required | 2020-11-29
27.11.2020 | 1241 | Kasumpti Reservoir | <1.1 | Not Required | 2020-11-30
| 1242 | Phase III Tank | <1.1 | Not Required | 2020-11-30
| 1243 | P.Tap Near Eva Sales Corporation Ganj Bazar. | <1.1 | Not Required | 2020-11-30
| 1244 | P.Tap Near Pursharthi Basti | <1.1 | Not Required | 2020-11-30
| 1245 | P.Tap Near Sabji Mandi Lower Bazar | <1.1 | Not Required | 2020-11-30
| 1246 | P.Tap Near Indira Chowk. | <1.1 | Not Required | 2020-11-30
| 1247 | P.Tap Near Khadi Bhandar The Mall Shimla. | <1.1 | Not Required | 2020-11-30
| 1248 | P.Tap Near Samsung Shop | <1.1 | Not Required | 2020-11-30
| 1249 | P.Tap Near HPMC Ridge | <1.1 | Not Required | 2020-11-30
| 1250 | Bhimakli Tank | <1.1 | Not Required | 2020-11-30
| 1251 | 103 Tank | <1.1 | Not Required | 2020-11-30
| 1252 | Kleston Tank | <1.1 | Not Required | 2020-11-30
| 1253 | Sanjauli Resrvoir | <1.1 | Not Required | 2020-11-30
| 1254 | Giri Inlet | <1.1 | Not Required | 2020-11-30
| 1255 | Gumma Inlet | <1.1 | Not Required | 2020-11-30
| 1256 | North Oak OH Tank | <1.1 | Not Required | 2020-11-30
| 1257 | Dhingu Mandir Tank | <1.1 | Not Required | 2020-11-30
| 1258 | Dhali Tank Outlet | <1.1 | Not Required | 2020-11-30
| 1259 | Mainsfield Tank | <1.1 | Not Required | 2020-11-30
| 1260 | Knollswood Tank | <1.1 | Not Required | 2020-11-30
28.11.2020 | 1261 | Kasumpti Reservior | <1.1 | Not Required | 2020-12-01
| 1262 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-01
| 1263 | P Tap Near Idgah Lakkar Bazar | <1.1 | Not Required | 2020-12-01
| 1264 | P. Tap Near Councellor House Ruldubhatta | <1.1 | Not Required | 2020-12-01
| 1265 | P. Tap Near Shiv Cottage Ruldubhatta | <1.1 | Not Required | 2020-12-01
| 1266 | P.Tap Near Shyam Singh Building Ruldubhatta | <1.1 | Not Required | 2020-12-01
| 1267 | P.Tap Near Bhagwati Niwas Lakkar Bazar | <1.1 | Not Required | 2020-12-01
| 1268 | Kleston Tank | <1.1 | Not Required | 2020-12-01
| 1269 | P Tap Near Bharari Temple | <1.1 | Not Required | 2020-12-01
| 1270 | Supply Near Bhalla Niwas Bharari | <1.1 | Not Required | 2020-12-01
| 1271 | P.Tap Near Police Colony Bharari | <1.1 | Not Required | 2020-12-01
| 1272 | P. Tap Near Police Ground Bharari | <1.1 | Not Required | 2020-12-01
| 1273 | Bharari Tank | <1.1 | Not Required | 2020-12-01
| 1274 | Sanjauli Reservior | <1.1 | Not Required | 2020-12-01
| 1275 | Giri Inlet | 2.2 | <1.1 | 2020-12-01
| 1276 | Gumma Inlet | <1.1 | Not Required | 2020-12-01
| 1277 | Dhali Tank Outlet | <1.1 | Not Required | 2020-12-01
| 1278 | Jakhu Tank Near Hanuman Mandir | <1.1 | Not Required | 2020-12-01
| 1279 | Mainsfield Tank | <1.1 | Not Required | 2020-12-01
| 1280 | Knollswood Tank | <1.1 | Not Required | 2020-12-01
29.11.2020 | 1281 | Kasumpti Reservoir | <1.1 | Not Required | 2020-12-02
| 1282 | Phase III Tank No.1 | <1.1 | Not Required | 2020-12-02
| 1283 | P.Tap Near Apna Medical Store Chotta Shimla. | <1.1 | Not Required | 2020-12-02
| 1284 | P.Tap Near Police Gumti,Chotta Shimla. | <1.1 | Not Required | 2020-12-02
| 1285 | Knollswood Tank | <1.1 | Not Required | 2020-12-02
| 1286 | Mainsfield Tank | <1.1 | Not Required | 2020-12-02
| 1287 | Jakhu Tank Near Hunuman Temple. | <1.1 | Not Required | 2020-12-02
| 1288 | P.Tap Near Dhaulpur House Jakhu | <1.1 | Not Required | 2020-12-02
| 1289 | Supply Near Holly Lodge | <1.1 | Not Required | 2020-12-02
| 1290 | P.Tap Near Charlie Mount ,Jakhu. | <1.1 | Not Required | 2020-12-02
| 1291 | Phagli Tank. | <1.1 | Not Required | 2020-12-02
| 1292 | P.Tap Near Summerhill Chowk. | <1.1 | Not Required | 2020-12-02
| 1293 | Advance Study Tank. | <1.1 | Not Required | 2020-12-02
| 1294 | P.Tap Near Lower Summerhill | <1.1 | Not Required | 2020-12-02
| 1295 | P.Tap Near 18 Family Boileaganj | <1.1 | Not Required | 2020-12-02
| 1296 | Sanjauli Reservoir. | <1.1 | Not Required | 2020-12-02
| 1297 | Giri Inlet. | <1.1 | Not Required | 2020-12-02
| 1298 | Gumma Inlet. | <1.1 | Not Required | 2020-12-02
| 1299 | SDA tank Kasumpati. | <1.1 | Not Required | 2020-12-02
| 1300 | Sakrala Tank. | <1.1 | Not Required | 2020-12-02
30.11.2020 | 1301 | Kasumpti Reservoir | <1.1 | Not Required | 2020-12-03
| 1302 | P.Tap Near Dhobhighat Annadale | <1.1 | Not Required | 2020-12-03
| 1303 | P.Tap Near Grace Villa Annadale | <1.1 | Not Required | 2020-12-03
| 1304 | P.Tap Near Luxmi Niwas Annadale | <1.1 | Not Required | 2020-12-03
| 1305 | P.Tap Near Bihari Lal Cottage | <1.1 | Not Required | 2020-12-03
| 1306 | P.Tap Near Kala Sadan Annadale | <1.1 | Not Required | 2020-12-03
| 1307 | Supply Near Chamba House Thakur Bag | <1.1 | Not Required | 2020-12-03
| 1308 | P. Tap Near Krishna Hill | <1.1 | Not Required | 2020-12-03
| 1309 | Supply Near Silverton Thakurbag | <1.1 | Not Required | 2020-12-03
| 1310 | Supply Near Valencia EstateThakurbag | <1.1 | Not Required | 2020-12-03
| 1311 | Kleston Tank | <1.1 | Not Required | 2020-12-03
| 1312 | Bharari Tank | <1.1 | Not Required | 2020-12-03
| 1313 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-03
| 1314 | Sanjauli Resrvoir | <1.1 | Not Required | 2020-12-03
| 1315 | Giri Inlet | <1.1 | Not Required | 2020-12-03
| 1316 | Gumma Inlet | <1.1 | Not Required | 2020-12-03
| 1317 | Jakhu Tank Near Hanuman Temple | <1.1 | Not Required | 2020-12-03
| 1318 | Mainsfield Tank | <1.1 | Not Required | 2020-12-03
| 1319 | Knollswood Tank | <1.1 | Not Required | 2020-12-03
| 1320 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-03
01.12.2020 | 1321 | Kasumpti Reservoir | 16 | <1.1 | 2020-12-04
| 1322 | Phase III Tank No-I | <1.1 | Not Required | 2020-12-04
| 1323 | Knollswood Tank | <1.1 | Not Required | 2020-12-04
| 1324 | Maisfield Tank | <1.1 | Not Required | 2020-12-04
| 1325 | Bangala Colony Tank | <1.1 | Not Required | 2020-12-04
| 1326 | Engine Ghar Tank | 5.1 | <1.1 | 2020-12-04
| 1327 | Jakhu Tank Near Hanuman Temple | <1.1 | Not Required | 2020-12-04
| 1328 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-04
| 1329 | P.Tap Near Dhalli Chowk | <1.1 | Not Required | 2020-12-04
| 1330 | P.Tap Near M.C Office Sanjauli | <1.1 | Not Required | 2020-12-04
| 1331 | Sanjauli Reservoir | <1.1 | Not Required | 2020-12-04
| 1332 | Giri Inlet | <1.1 | Not Required | 2020-12-04
| 1333 | Gumma Inlet | <1.1 | Not Required | 2020-12-04
| 1334 | North Oak UG Tank | <1.1 | Not Required | 2020-12-04
| 1335 | North Oak OH Tank | <1.1 | Not Required | 2020-12-04
| 1336 | P.Tap Near Old Police Thana Sanjauli | <1.1 | Not Required | 2020-12-04
| 1337 | P.Tap Near Luxmi Narayan Temple Sanjauli | <1.1 | Not Required | 2020-12-04
| 1338 | P.Tap Near Councellor House Ruldu Bhatta | <1.1 | Not Required | 2020-12-04
| 1339 | P. Tap Near Shiv Cottage Ruldubhatta | <1.1 | Not Required | 2020-12-04
| 1340 | P.Tap Near Bhagwati Niwas Lakkar Bazar | <1.1 | Not Required | 2020-12-04
02.12.2020 | 1341 | Kasumpti Reservoir | <1.1 | Not Required | 2020-12-05
| 1342 | Phase III Tank No-I | <1.1 | Not Required | 2020-12-05
| 1343 | Phase III Tank No-3 | <1.1 | Not Required | 2020-12-05
| 1344 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-05
| 1345 | Sector-1 Old Tank | <1.1 | Not Required | 2020-12-05
| 1346 | P. Tap near M.C Office New Shimla | <1.1 | Not Required | 2020-12-05
| 1347 | Sector-4 Tank | 16 | <1.1 | 2020-12-05
| 1348 | Sector-2 Tank | 23 | <1.1 | 2020-12-05
| 1349 | Knollswood Tank | <1.1 | Not Required | 2020-12-05
| 1350 | Maisfield Tank | <1.1 | Not Required | 2020-12-05
| 1351 | Jakhu Tank Near Hanuman Temple | <1.1 | Not Required | 2020-12-05
| 1352 | 103 Tank | <1.1 | Not Required | 2020-12-05
| 1353 | P Tap near Hari Mandir, Chakkar | <1.1 | Not Required | 2020-12-05
| 1354 | Chakkar tank | <1.1 | Not Required | 2020-12-05
| 1355 | Bharari Tank | <1.1 | Not Required | 2020-12-05
| 1356 | Kleston Tank | <1.1 | Not Required | 2020-12-05
| 1357 | Sanjauli Reservoir | <1.1 | Not Required | 2020-12-05
| 1358 | Giri Inlet | <1.1 | Not Required | 2020-12-05
| 1359 | Gumma Inlet | <1.1 | Not Required | 2020-12-05
| 1360 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-05
03.12.2020 | 1361 | Kasumpti Reservoir. | <1.1 | Not Required | 2020-12-06
| 1362 | Jakhu Tank Near Hanuman Temple. | <1.1 | Not Required | 2020-12-06
| 1363 | Knollswood Tank. | 1.1 | <1.1 | 2020-12-06
| 1364 | Mainsfield Tank. | <1.1 | Not Required | 2020-12-06
| 1365 | Tuttikandi Tank. | 5.1 | <1.1 | 2020-12-06
| 1366 | Bhimakali Tank. | <1.1 | Not Required | 2020-12-06
| 1367 | Bharari Tank. | 5.1 | <1.1 | 2020-12-06
| 1368 | Sanjauli Reservoir. | <1.1 | Not Required | 2020-12-06
| 1369 | Giri Inlet | <1.1 | Not Required | 2020-12-06
| 1370 | Gumma Inlet. | <1.1 | Not Required | 2020-12-06
| 1371 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-06
| 1372 | P.Tap Near Police Gumti Chotta Shimla | <1.1 | Not Required | 2020-12-06
| 1373 | P.Tap Near Apna Medical Store Chotta Shimla. | <1.1 | Not Required | 2020-12-06
| 1374 | P.Tap Near Brochhurst Chotta Shimla. | <1.1 | Not Required | 2020-12-06
| 1375 | P.Tap Near Servent Quarter Knollswood. | <1.1 | Not Required | 2020-12-06
| 1376 | P.Tap Near Khalini Chowk. | <1.1 | Not Required | 2020-12-06
| 1377 | P.Tap Near Bye Pass Road Khalini. | <1.1 | Not Required | 2020-12-06
| 1378 | P. Tap Near Panchiahata . | <1.1 | Not Required | 2020-12-06
| 1379 | P.Tap Near Sood Bhawan Bhagwati Nagar. | <1.1 | Not Required | 2020-12-06
| 1380 | Supply Near Guleria House. | <1.1 | Not Required | 2020-12-06
04.12.2020 | 1381 | Kasumpati Reservoir | <1.1 | Not Required | 2020-12-07
| 1382 | P. tap near suji line | <1.1 | Not Required | 2020-12-07
| 1383 | P. tap near eva sales corporation ganj bazar | <1.1 | Not Required | 2020-12-07
| 1384 | P. tap near prusharthi basti | <1.1 | Not Required | 2020-12-07
| 1385 | P. tap near sabji mandi lower bazar | 5.1 | <1.1 | 2020-12-07
| 1386 | P. tap near indira chowk | <1.1 | Not Required | 2020-12-07
| 1387 | P.tap near khadi bhandar shimla the mall | <1.1 | Not Required | 2020-12-07
| 1388 | P. tap near samsung shop the mall shimla | <1.1 | Not Required | 2020-12-07
| 1389 | P. tap near hpmc near the ridge shimla | >23 | <1.1 | 2020-12-07
| 1390 | p. tap near tibetian colony nabha | <1.1 | Not Required | 2020-12-07
| 1391 | Phali tank | <1.1 | Not Required | 2020-12-07
| 1392 | P. tap near gsss phagli | <1.1 | Not Required | 2020-12-07
| 1393 | Klestein tank | <1.1 | Not Required | 2020-12-07
| 1394 | Dhalli tank outlet | <1.1 | Not Required | 2020-12-07
| 1395 | Sanjauli reservoir | <1.1 | Not Required | 2020-12-07
| 1396 | Giri inlet | <1.1 | Not Required | 2020-12-07
| 1397 | Gumma inlet | <1.1 | Not Required | 2020-12-07
| 1398 | Maqinsfield tank | <1.1 | Not Required | 2020-12-07
| 1399 | Knollswood tank | <1.1 | Not Required | 2020-12-07
| 1400 | Phase-III tank no. 1 | <1.1 | Not Required | 2020-12-07
05.12.2020 | 1401 | Kasumpati reservoir | <1.1 | Not Required | 2020-12-08
| 1402 | Knollswood tank | <1.1 | Not Required | 2020-12-08
| 1403 | Mainsfield tank | <1.1 | Not Required | 2020-12-08
| 1404 | Jakhu tank near hanuman temple | <1.1 | Not Required | 2020-12-08
| 1405 | P. tap near dhaulpur house | <1.1 | Not Required | 2020-12-08
| 1406 | Supply near hollylodge | <1.1 | Not Required | 2020-12-08
| 1407 | P. tap near charlie mount | <1.1 | Not Required | 2020-12-08
| 1408 | 103 tank | <1.1 | Not Required | 2020-12-08
| 1409 | P. tap 18 family near boiluganj | <1.1 | Not Required | 2020-12-08
| 1410 | P. tap near lower summerhill | <1.1 | Not Required | 2020-12-08
| 1411 | P. tap near raj diary summerhill | <1.1 | Not Required | 2020-12-08
| 1412 |  | <1.1 | Not Required | 2020-12-08
| 1413 | P. tap near summerhill chowk | <1.1 | Not Required | 2020-12-08
| 1414 | Advance study tank | <1.1 | Not Required | 2020-12-08
| 1415 | Engine ghar tank | <1.1 | Not Required | 2020-12-08
| 1416 | Sanjauli reservoir | <1.1 | Not Required | 2020-12-08
| 1417 | Gumma inlet | <1.1 | Not Required | 2020-12-08
| 1418 | P. tap near dhalli chowk | <1.1 | Not Required | 2020-12-08
| 1419 | Dhalli tank outlet | <1.1 | Not Required | 2020-12-08
| 1420 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-08
06.12.2020 | 1421 | Kasumpati Reservoir | 5.1 | <1.1 | 2020-12-09
| 1422 | P. tap near dhobi ghat annadel | 16 | <1.1 | 2020-12-09
| 1423 | P.Tap Near Luxmi Niwas Annadale | >23 | <1.1 | 2020-12-09
| 1424 | P.Tap Near Bhihari Lal Cottage Annadale | 1.1 | <1.1 | 2020-12-09
| 1425 | P.Tap Near Kala Sadan Annadale | 5.1 | <1.1 | 2020-12-09
| 1426 | P.Tap Near Krishna Hill | >23 | <1.1 | 2020-12-09
| 1427 | P.Tap Near Chamba Cottage Annadale | 16 | <1.1 | 2020-12-09
| 1428 | P.Tap Near Grace Villa Anndale | >23 | <1.1 | 2020-12-09
| 1429 | Supply Near Silverton Thakurbag | <1.1 | Not Required | 2020-12-09
| 1430 | Tara hill tank | 9.2 | <1.1 | 2020-12-09
| 1431 | Sanjauli Reservoir | 5.1 | <1.1 | 2020-12-09
| 1432 | Giri Inlet | <1.1 | Not Required | 2020-12-09
| 1433 | Gumma Inlet | <1.1 | Not Required | 2020-12-09
| 1434 | Kalyani Tank Charabra | <1.1 | Not Required | 2020-12-09
| 1435 | Jakhu tank near hanuman temple | <1.1 | Not Required | 2020-12-09
| 1436 | Mainsfield tank | <1.1 | Not Required | 2020-12-09
| 1437 | Knollswood tank | <1.1 | Not Required | 2020-12-09
| 1438 | Phase III tank no 1 | <1.1 | Not Required | 2020-12-09
| 1439 | Sector 4 tank new shimla | <1.1 | Not Required | 2020-12-09
| 1440 | Sector 2 tank new shimla | <1.1 | Not Required | 2020-12-09
07.12.2020 | 1441 | Kasumpati Reservoir | <1.1 | Not Required | 2020-12-10
| 1442 | Jakhu tank near hanuman temple | <1.1 | Not Required | 2020-12-10
| 1443 | Mainsfield tank | <1.1 | Not Required | 2020-12-10
| 1444 | Knollswood tank | <1.1 | Not Required | 2020-12-10
| 1445 | P. tap near bharari tank | <1.1 | Not Required | 2020-12-10
| 1446 | P. tap near police colony bharari | <1.1 | Not Required | 2020-12-10
| 1447 | Supply near bhalla niwas | <1.1 | Not Required | 2020-12-10
| 1448 | P. Tap Near Police Ground Bharari | <1.1 | Not Required | 2020-12-10
| 1449 | Bharari tank | <1.1 | Not Required | 2020-12-10
| 1450 | Kleistein tank | <1.1 | Not Required | 2020-12-10
| 1451 | Sanjauli reservoir | <1.1 | Not Required | 2020-12-10
| 1452 | Giri inlet | <1.1 | Not Required | 2020-12-10
| 1453 | Gumma inlet | <1.1 | Not Required | 2020-12-10
| 1454 | Dhalli tank outlet | <1.1 | Not Required | 2020-12-10
| 1455 | P. Tap near Bhagwati Niwas Lakkar Bazar | <1.1 | Not Required | 2020-12-10
| 1456 | P. Tap Near Councellor House Ruldubhatta | <1.1 | Not Required | 2020-12-10
| 1457 | P. Tap Near Shiv Cottage Ruldubhatta | <1.1 | Not Required | 2020-12-10
| 1458 | P. tap near shyam singh cottage ruldubhatta | <1.1 | Not Required | 2020-12-10
| 1459 | P. tap near idgah ruldubhatta | <1.1 | Not Required | 2020-12-10
| 1460 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-10
08.12.2020 | 1461 | Kasumpati reservoir | <1.1 | Not Required | 2020-12-11
| 1462 | P. tap near goel apartment dhingu | <1.1 | Not Required | 2020-12-11
| 1463 | Dhingu Mandir Tank | <1.1 | Not Required | 2020-12-11
| 1464 | Dhalli tank outlet | <1.1 | Not Required | 2020-12-11
| 1465 | P. tap near luxmi narayan temple | <1.1 | Not Required | 2020-12-11
| 1466 | P. tap near old police thana sanjauli | <1.1 | Not Required | 2020-12-11
| 1467 | Sanjauli reservoir | <1.1 | Not Required | 2020-12-11
| 1468 | Giri inlet | <1.1 | Not Required | 2020-12-11
| 1469 | Gumma inlet | <1.1 | Not Required | 2020-12-11
| 1470 | North oak ug tank | <1.1 | Not Required | 2020-12-11
| 1471 | North oak oh tank | <1.1 | Not Required | 2020-12-11
| 1472 | Housing board clony tank 1 | <1.1 | Not Required | 2020-12-11
| 1473 | Housing board clony tank 2 | <1.1 | Not Required | 2020-12-11
| 1474 | P. tap near mc office sanjauli | <1.1 | Not Required | 2020-12-11
| 1475 | Engine ghar tank | <1.1 | Not Required | 2020-12-11
| 1476 | Bangalo colony tank | <1.1 | Not Required | 2020-12-11
| 1477 | Jakhu temple near hanuman temple | <1.1 | Not Required | 2020-12-11
| 1478 | Mainsfield trank | <1.1 | Not Required | 2020-12-11
| 1479 | Knollswood tank | <1.1 | Not Required | 2020-12-11
| 1480 | 103 tank | <1.1 | Not Required | 2020-12-11
09.12.2020 | 1481 | Kasumpati resorvoir | <1.1 | Not Required | 2020-12-12
| 1482 | Sakrala Tank. | <1.1 | Not Required | 2020-12-12
| 1483 | P. Tap near A-1 Block, Vikas Nagar | <1.1 | Not Required | 2020-12-12
| 1484 | Phase-III tank no. 1 | <1.1 | Not Required | 2020-12-12
| 1485 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-12
| 1486 | P. Tap near MC Office New Shimla | <1.1 | Not Required | 2020-12-12
| 1487 | Sec.-3 old tank | <1.1 | Not Required | 2020-12-12
| 1488 | P. tap near Kranti Chowk | <1.1 | Not Required | 2020-12-12
| 1489 | Sec.-3 new tank | <1.1 | Not Required | 2020-12-12
| 1490 | P. tap near nagta bhawan new shimla | <1.1 | Not Required | 2020-12-12
| 1491 | Phagli tank | <1.1 | Not Required | 2020-12-12
| 1492 | Tuttikandi Tank. | <1.1 | Not Required | 2020-12-12
| 1493 | Chakker tank | <1.1 | Not Required | 2020-12-12
| 1494 | Bharari tank | <1.1 | Not Required | 2020-12-12
| 1495 | Sanjauli reservoir | <1.1 | Not Required | 2020-12-12
| 1496 | Giri inlet | <1.1 | Not Required | 2020-12-12
| 1497 | Gumma inlet | <1.1 | Not Required | 2020-12-12
| 1498 | Dhalli tank outlet | <1.1 | Not Required | 2020-12-12
| 1499 | Mainsfield tank | <1.1 | Not Required | 2020-12-12
| 1500 | Knollswood tank | <1.1 | Not Required | 2020-12-12
10.12.2020 | 1501 | Kasumpati reservoir | <1.1 | Not Required | 2020-12-13
| 1502 | P. tap near dhobi ghat annadel | <1.1 | Not Required | 2020-12-13
| 1503 | P. tap near grace villa anadel | <1.1 | Not Required | 2020-12-13
| 1504 | P. tap near luxmi niwas annadel | <1.1 | Not Required | 2020-12-13
| 1505 | P. tap near bihari lal cottage annadel | <1.1 | Not Required | 2020-12-13
| 1506 | P. tap near kala sadan annadel | <1.1 | Not Required | 2020-12-13
| 1507 | Supply near chamba house thakur bag | <1.1 | Not Required | 2020-12-13
| 1508 | P. tap near krishna hill | <1.1 | Not Required | 2020-12-13
| 1509 | Tara Hall Tank | <1.1 | Not Required | 2020-12-13
| 1510 | Bharari tank | <1.1 | Not Required | 2020-12-13
| 1511 | Kleistain tank | <1.1 | Not Required | 2020-12-13
| 1512 | Sanjauli reservoir | <1.1 | Not Required | 2020-12-13
| 1513 | Giri inlet | <1.1 | Not Required | 2020-12-13
| 1514 | Gumma inlet | <1.1 | Not Required | 2020-12-13
| 1515 | Dhalli tank outlet | <1.1 | Not Required | 2020-12-13
| 1516 | P. tap near dhalli chowk | <1.1 | Not Required | 2020-12-13
| 1517 | Jakhu tank near hanuman temple | <1.1 | Not Required | 2020-12-13
| 1518 | Mainsfield tank | <1.1 | Not Required | 2020-12-13
| 1519 | Knollswood tank | <1.1 | Not Required | 2020-12-13
| 1520 | Tara mata mandir tank | <1.1 | Not Required | 2020-12-13
11.12.2020 | 1521 | Kasumpti Reservoir | <1.1 | Not Required | 2020-12-14
| 1522 | Phase III Tank No.I | <1.1 | Not Required | 2020-12-14
| 1523 | P.Tap Near Panchiahata | <1.1 | Not Required | 2020-12-14
| 1524 | P.Tap Near Kali Mata Mandir Lower Khalini | <1.1 | Not Required | 2020-12-14
| 1525 | P.Tap Near sood Bhawan Bhagwati Niwas | <1.1 | Not Required | 2020-12-14
| 1526 | P. Tap Near By Pass Road Khalini | <1.1 | Not Required | 2020-12-14
| 1527 | P.Tap Near Khalini Chowk. | <1.1 | Not Required | 2020-12-14
| 1528 | P. Tap Near Servant Quarter Knollswood | <1.1 | Not Required | 2020-12-14
| 1529 | P.Tap Near Police Ghumti Chota Shimla | <1.1 | Not Required | 2020-12-14
| 1530 | P.Tap Near Apna Medical Store Chotta Shimla. | <1.1 | Not Required | 2020-12-14
| 1531 | P. Tap Near Brockhurst | <1.1 | Not Required | 2020-12-14
| 1532 | Mainsfield Tank | <1.1 | Not Required | 2020-12-14
| 1533 | Knollswood Tank | <1.1 | Not Required | 2020-12-14
| 1534 | Jakhu Tank Near Hanuman Temple | <1.1 | Not Required | 2020-12-14
| 1535 | Bhimakali tank | <1.1 | Not Required | 2020-12-14
| 1536 | Kleston Tank | <1.1 | Not Required | 2020-12-14
| 1537 | Sanjauli Reservoir | <1.1 | Not Required | 2020-12-14
| 1538 | Giri Inlet | <1.1 | Not Required | 2020-12-14
| 1539 | Gumma Inlet | <1.1 | Not Required | 2020-12-14
| 1540 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-14
12.12.2020 | 1541 | Kasunpti Reservoir | <1.1 | Not Required | 2020-12-15
| 1542 | P. Tap Near Dhaulpur House Jakhu | <1.1 | Not Required | 2020-12-15
| 1543 | Jakhu Tank Near hanuman Temple | <1.1 | Not Required | 2020-12-15
| 1544 | Supply Near Hollylodge | <1.1 | Not Required | 2020-12-15
| 1545 | Suplly Near Lehnu Bhawan Jakhu | 2.2 | <1.1 | 2020-12-15
| 1546 | P.Tap Near Charlie Mount | <1.1 | Not Required | 2020-12-15
| 1547 | Phagli Tank | <1.1 | Not Required | 2020-12-15
| 1548 | 103 Tank | <1.1 | Not Required | 2020-12-15
| 1549 | Tutikandi Tank | <1.1 | Not Required | 2020-12-15
| 1550 | Chakkar Tank | <1.1 | Not Required | 2020-12-15
| 1551 | P. Tap Near Hari Mandir Chakkar | <1.1 | Not Required | 2020-12-15
| 1552 | P. Tap Near Bhagwati Niwas Lakkar Bazar | <1.1 | Not Required | 2020-12-15
| 1553 | Bharari Tank | <1.1 | Not Required | 2020-12-15
| 1554 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-15
| 1555 | Sanjauli Reservoir | <1.1 | Not Required | 2020-12-15
| 1556 | Giri Inlet | <1.1 | Not Required | 2020-12-15
| 1557 | Gumma Inlet | <1.1 | Not Required | 2020-12-15
| 1558 | Mainsfield Tank | <1.1 | Not Required | 2020-12-15
| 1559 | Knollswood Tank | <1.1 | Not Required | 2020-12-15
| 1560 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-15
13.12.2020 | 1561 | Kasunmpti Reservoir | <1.1 | Not Required | 2020-12-16
| 1562 | P.Tap Near Chadha Transport | <1.1 | Not Required | 2020-12-16
| 1563 | P.Tap Near Gaddi Khana | <1.1 | Not Required | 2020-12-16
| 1564 | P.Tap Near Suji Line Sabji Mandi | <1.1 | Not Required | 2020-12-16
| 1565 | P.Tap Near Eva Sales Corporation Ganj Bazar. | <1.1 | Not Required | 2020-12-16
| 1566 | P.Tap Near Prusharthi Basti. | <1.1 | Not Required | 2020-12-16
| 1567 | P.Tap Near Sabji Mandi Lower Bazar | <1.1 | Not Required | 2020-12-16
| 1568 | P.Tap Near Indira Chowk Lower Bazar | <1.1 | Not Required | 2020-12-16
| 1569 | P.Tap Near Khadi Bhandar Mall Road | <1.1 | Not Required | 2020-12-16
| 1570 | P.Tap Near Samsung Shop Mall Road | <1.1 | Not Required | 2020-12-16
| 1571 | P.Tap Near HPMC Ridge | <1.1 | Not Required | 2020-12-16
| 1572 | Sanjauli Resrvoir | <1.1 | Not Required | 2020-12-16
| 1573 | Giri Inlet | <1.1 | Not Required | 2020-12-16
| 1574 | Gumma Inlet | <1.1 | Not Required | 2020-12-16
| 1575 | Dhalli Tank Outlet | <1.1 | Not Required | 2020-12-16
| 1576 | Kalyani Tank Charabra | <1.1 | Not Required | 2020-12-16
| 1577 | Jakhu Tank Near Hanuman Temple | <1.1 | Not Required | 2020-12-16
| 1578 | Mainsfield Tank | <1.1 | Not Required | 2020-12-16
| 1579 | Knollswood Tank | <1.1 | Not Required | 2020-12-16
| 1580 | Tara Mata Mandir Tank | <1.1 | Not Required | 2020-12-16